REQUESTS FOR PROPOSALS

Site: 4397 Main Street

Scope: Demolition and related work

Due: February 13th at 3pm.

Specifications:

- Contact all utility providers for removal of remaining pipes and meters to below grade or street level.

- Obtain permit or waiver from Jefferson County Health Department for demolition and provide to City before commencement of work. The City of Pinson has the Asbestos clearance report.

- Pump and fill the grease trap and septic tank in accordance with Jefferson County Health Department

- Demolish and remove house, garage, woodshed and well structure, including footings, foundations, and slabs.

- Fill the abandoned well (spoilage from site may be used)

- Remove any brick, rock, edging, and other non-earthen materials not used on site for backfill

- Remove all shrubs near house and additionally marked trees or vegetation

- Grind marked stumps to grade level.

- Leave premises in a level, natural, earthen state. Apply wheat straw and grass seed to any disturbed area.

Contractor shall provide certificate of general liability insurance with proposal to be considered.